## Sheet1
45 Wellington Apartments - Material List
Materials list 14/03/2017
Product | Part No. | Qty | Turks | DesignData | CtrlStore | DoreElec | unit price
DORE ELECTRICS
1000x600 Enclosure | MBO61030 | 0 |  |  |  | 673.2 | 336.6
800x600 | MB06825 | 0
600x600 Enclosure | MBO6620 | 0 |  |  |  | 491.04 | 163.68
400x500 Enclosure | MB4520 | 1
600x800 Enclosure | MB6825 | 2
Key Action Locks | SL8K | 5 |  |  |  | 99.8
Lock Tongues | YL26S | 5 |  |  |  | 15.9
Slotted Duct 80x80 | CSD8080 | 0 |  |  |  | 21.63 | 21.63
Slotted Duct 60x80 | CSD6080 | 1 |  |  |  | 73.24 | 18.31
Slotted Duct 40x80 | CSD4080 | 2 |  |  |  | 33.78
Alum. Din Rail - 2m | RAL2 | 1 |  |  |  | 8.35
Green LED - 22mm | PL22G24LED | 15 |  |  |  | 46.2
Red LED - 22mm | PL22R24LED | 15 |  |  |  | 46.2
Key Switches 3pos | KS223 | 10 |  |  |  | 441
Man-Off-Auto Legend | LEGEND/MOA | 10 |  |  |  | 10.78
Key Switches 2pos | KS222 | 5 |  |  |  | 441
Auto Off Legend | LEGEND/AO | 5 |  |  |  | 10.78
Lamp Test Switch - 22mm | PBF22B | 1 |  |  |  | 6.06
Main Switch 3Ph | MCB63P3 | 1 |  |  |  | 35.94
C/B 3Ph 6A | MCB6P3 | 2 |  |  |  | 363.16
C/B 1Ph 10A | MCB10P1 | 4 |  |  |  | 14.52
C/B 1Ph 6A | MCB6P1 | 1 |  |  |  | 14.52
C/B 1Ph 2A | MCB2P1 | 2 |  |  |  | 14.52
C/B 3Ph 10A | MCB10P3 | 1
C/B 3Ph 4A | MCB4P3 | 8
RCD/MCB 10A 2Pole | RCBO10P2 | 1 |  |  |  | 30
GPO Din mount | DINGPO | 1 |  |  |  | 13.49
Product | Part No. | Qty | Turks | DesignData | CtrlStore | DoreElec | unit price
Contactor 3Pole | SCDLC1D09U7 | 2 |  |  |  | 839.72
Thermal Overload Relay | CDR17A 0.8 | 1
Thermal Overload Relay | CDR17A 1.4 | 1
Relay 1Pole 24VAC | OMRG2R-1-SNAC24 | 20 |  |  |  | 865.3
Relay 1Pole 12VDC | OMRG2R-1-SNIDC12 | 36 |  |  |  | 333.96
Relay Base 5pin | OMRP2RF05E | 56 |  |  |  | 551.25
Busbar 3Ph 24Pole | SCDA9XPH324 | 1 |  |  |  | 276.21
Busbar - Earth + Neutral | SCDENB18 | 2 |  |  |  | 64.95
Mounting Block Clipsal | CLIBP165F | 0 |  |  |  | 3.21
Terminals Din mount | SCDNSYTRV22 | 100 |  |  |  | 255
Product | Part No. | Qty | Turks | DesignData | CtrlStore | DoreElec | unit price
CONTROLSTORE
Mech Thermostat | ET06060U | 2
Current Switch - Solid | CCS131 | 20 |  |  | TBA
CO Sensor | GSTA-C | 10 |  |  | TBA
Exp module - IODIM6 | IO DIM6 | 2 |  |  | TBA
Controller ECB650 | CDIB-650-X0 | 1 |  |  | TBA
Controller ECX400 | CDIX-400-X0 | 1 |  |  | TBA
Product | Part No. | Qty | Turks | DesignData | CtrlStore | DoreElec | unit price
DESIGN DATA
Cable 1.5mm 3C+E screened | scre E screened | 100m |  | 1692.6 |  |  | 2.73 p/m | o/c 1.65 p/m
Cable 7030 2P | 03 0 2P | 100m |  | 103 |  |  | 1.03 p/m
Cable 7030 3P | 03 0 3P | 100m |  | 75 |  |  | 1.50 p/m
Cable 1mm Flex - brown | b - brown | 0 |  | 32 |  |  | .32 p/m
Cable 1.5mm Flex - red | Fle x - red | 0 |  | 25 |  |  | .50 p/m
Cable 1.5mm Flex - white | w x - white | 0 |  | 25 |  |  | .50 p/m
Cable 1.5mm Flex - blue | x - blue | 0 |  | 25 |  |  | .50 p/m
Product | Part No. | Qty | Turks | DesignData | CtrlStore | DoreElec | unit price
VSD-FC101-3kW |  | 1
VSD-FC101-2.2kW |  | 3
VSD-FC101-1.5kW |  | 2
VSD-FC101-0.75kW |  | 2